## Slide 1
Information Systems Auditing

## Slide 2: Introduction
DevElite
Growing IT Solution Startup
located at a commercial building in Central
Open office
Services
Consultancy
Software development
Hardware deployment & maintenance

## Slide 3: Physical Control
Server
Weakness
  Server located at open area
Risk
  Potential lost or damage on server
Current control
  Security guards and fire alarm system
Proposed control:
  HVAC system and UPS system
  server rental services

## Slide 4: Physical Control
Weakness : Keypad lock system
Risk : Unauthorized access or theft due to compromised passcode
Current control : Annual passcode change
Proposed control : Smart card system
Hardware
Weakness: Hardware disposal by reselling
Risk: Company data will be retrieved/recovered from hard disk
Current control: Erasing hard disk
Proposal control:
  Degaussing
  avoid reselling hard disk

## Slide 5: Physical Control
CCTV
Weakness
  CCTV tapes is stored locally in office
Risk
  Tapes will be damage lost in case of disaster or theft
Current Control
  N/A
Proposal control
  Cloud storage and local copy in parallel

## Slide 6: Infrastructure Resilience
Internet Connection
Weakness: Single internet connection
Risk: Loss of Internet connection
  Internal staff cannot access the Internet
  External customers cannot access the company website
Current corrective control: personal mobile and data plan to process emails
Proposed control: install a backup Internet link
Notes: Picture source: https://cdn-ak.f.st-hatena.com/images/fotolife/w/wanichan/20170725/20170725163643.png

## Slide 7: Infrastructure Resilience
Local data backup
Weakness: no offsite backup
Risk: Loss of data due to site disaster like fire accidents or flooding, no regular data restoration exercise to verify backup data integrity
Current preventive control: store backup data in a local server
Proposed control:
  use dedicated backup software and hardware or cloud backup solution
  store the backup data offsite
  perform regular data verification exercises
Notes: Picture source: https://cdn-bolfm.nitrocdn.com/mWgYjbaMRWDNjecvpTWonpPocStwNRqT/assets/static/optimized/rev-f48e0a3/wp-content/uploads/cloud-backup-diagram.png

## Slide 8
Recovery Procedure
Begin recovery restoring files from backup
Change all password
Communicate with clients affected by letting them know what happened and how you are fixing it
Acquire the services of an IT expert or a forensic expert who can find, analyze and preserve electronic equipments to analyze precisely what happened.

## Slide 9: Software development Development circle
Weakness
  No dedicated testing team to evaluate the products
Risk
  Have bugs, performance & security loopholes at products due to poor QC
Current Practice
  Developers shared testing & support workloads
  Develop and test at their own device
Proposal Control
  Separate testing and support role from development
  Setup isolated testing environment

## Slide 10: Software Development Project Management
Weakness
  Scattered project documents and issue logs at share folders
  Low visibility to project status
Risk
  Project delay due to issues NOT logged or resolved properly
Current Practice
  Use Google sheets to communicate with customers and log issues
  Update task status at shared excel spreadsheets
Proposal Control
  Migrate to a cloud project management software

## Slide 11: Software Development Source Code Management
Weakness
  No security and version control for source code
Risk
  Can’t resume development work if have virus or hardware failure occurs
Current Practice
  Upload the changes to the company server
  Deploy to client UAT server for testing
Proposal Control
  Commit source code to central repository
  Deploy stable version to client UAT server

## Slide 12: Cyber Securities
•Weakness
  Exposed to risk of cyber attack in daily operations once computers are connected to the internet
  According to Hong Kong Computer Emergency Response Team Coordination Centre (HKCERT), botnets and phishing are the major cyber incidents reported in February 2022
•Risk
  Loss of efficiency on daily operation
  Loss of business opportunities
  Direct loss of money

## Slide 13: Cyber Securities
Current Control
  Antivirus software
    License will be expired shortly
    Out-of-date virus database
Proposed Control
  Firewall
  Antivirus software – license renewal and keep virus database up-to-date
  Type of Users in PCs
  Cyber security training

## Slide 14: Conclusion
  Physical Control, Infrastructure Resilience, Database, Software Development and Cyber Securities issues are discussed in this project
  Weaknesses and risks are identified
  Hope the proposed control can help the company business
Thank You!